|  |  |
| --- | --- |
| **Steve Edelman – Three Mile Island** | * First success -   + Chemistry shutdown method (Refueling 1.3 Person-Rem) * Second success –   + EDEx Outages (certain jobs better assignment of dose) |
| **Roger Slocum - Oconee** | * First success – Electro-polished Letdown Cooler piping * Second success – Dose Advocate |
| **Ryan Reynolds - ANO** | * First success – Hone pipe ends/electro-polished letdown line * Second success – Socket welds |
| **Chris Ahola – San Onofre** | * First success – Fuel Downloading Project (reprocessing asset recovery) Spray wand from underneath.15 mRem/assembly * Second success |
| **Bill – Kewannee** | * First success – Break down of RP needs doubled staff size due to actual needs (6 to 12). Detailed spreadsheet available * Second success –System drain downs (working with Ops IV checks). |
| **Larry Reeder – Crystal River** | * First success - Legacy Waste removal (getting everything shipped out) * Second success - |
|  |  |

|  |  |
| --- | --- |
| **Steve Edelman – Three Mile Island** | * First challenge * Reactor disassembly/reassembly * Second challenge   + No permanent fiber (2015) |
| **Ryan Reynolds - ANO** | * First challenge – Knowledge retention (Jim going, Dan soon new personnel filling in). * Second challenge |
| **Roger Slocum - Oconee** | * First challenge – Outage dose (40 Rem over by ED then 21 Rem by DLR) * Second challenge |
| **Chris Ahola – San Onofre** | * First challenge – Long hours short staff * Second challenge – |
|  |  |
| **Bill – Kewannee** | * First Challenge – Long hours short staff * Second Challenge |

Golden Nuggets:

* + **Three Mile Island –** Use of TV Monitors for Daily dose awareness
  + **Oconee –** Lower mast from bridge lowered the dose rates
  + **ANO – See CE**

Decommission Sites Nuggets/Fast facts

* + **San Onofre –** Shield racks around new fuel storage
  + **Kewannee –** No required formal RP Training
  + **Crystal River –** No required formal RP Training