Group- (I/C Westinghouse)     Facilitator – Dana Page

ALARA Successes / Lessons Learned – what has worked?

| Plant- Watts Bar Contact: Brett Sumner |  | - Success: INPO Strength of Radiography program large amount of shots, no issues |
| --- | --- | --- |
| Plant- Sequoyah Contact: Carl Summers |  | - Success: Tarp on floor and walls after head set and drain down (15 min) 4 PCE last outage. |
| Plant- Cook Contact Dave Miller |  | - Success: 1.2 billion dollar budgeted for plant modernization |
| Plant- Catawba Contact: Cooper/Page |  | - First success: Improvements in Eng. Support & more engaged SAC – leading to implementation of long standing ALARA initiatives |
| Plant- McGuire Contact: Steve Lisi | - First success: Dose Ownership buy in from upper management. Silver lining from bad CRE outage, a lot of help with ALARA initiatives. More buy in from craft, starting to see ownership. |  |

| Plant- Watts Bar Contact: Brett Sumner | - Challenge: Reducing site CRE (40 rem outage) |
| --- | --- |
| Plant- Sequoyah Contact: Carl Summers | - Challenge: Gaps to excellence program regarding KPI dose tracking |
| Plant- Catawba Contact: Page/Cooper | - Challenge: U-2 CRE reduction (old D-2 S/G) |
| Plant- McGuire Contact: Steve Lisi | - Challenge: RHR dose rates following pump runs at the end of the outage. |
| Plant- Cook Contact Dave Miller | - Challenge: Use new technology to characterize dose field (use of CZT detectors) Get shielding in right location |

Group- (I/C Westinghouse)     Facilitator – Dana Page

ALARA Challenges / Lessons Learned – what has not worked?

Golden Nuggets:

Plant: Cook – CZT

- Alpha hazard Awareness training for site personnel

Plant: Sequoyah – Use of OSL

Plant: Catawba – Tagging Components with OE within Work Control

Plant: Watts Bar – S/G Manway shielding for easy access for ECT

Plant: McGuire – Dose Ownership (Dose Advocate) training for Maintenance Line supervisors and temp supervisors